## ریز اقلام قرارداد
خلاصه مالی سفارش خرید ترانس های رکتیفایر | [9 empty] | شماره قرارداد: ADSH-P-CO-EL-004
خریدار: شرکت پالایشگاه میعانات گازی آدیش جنوبی | [9 empty] | تاریخ قرارداد: 1401/06/24
فروشنده: شرکت پنام گویان پارس امرتات | [9 empty] | تاریخ تهیه گزارش: 1401/11/24
ردیف | کد کالا | شرح | واحد | مقدار | بهای واحد (ریال) | مبلغ قرارداد (ریال) | مقدار رسید شده | درصد کالای رسید شده | شماره صورتحساب | مبلغ کل (ریال)
1 | 6530150500 | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN) -50V/50A DC Output, Constant Current and Constant Voltage, IP55, with GPS Interrupter as per document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 12 | 650000000 | 7800000000 | 12 | 100% | 1661 | 7800000000
2 | 6530150150 | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)-50V/150A DC Output, Constant Current and Constant Voltage, IP55, as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | ست | 4 | 990000000 | 3960000000 | 4 | 100% | 1651 | 3960000000
3 | 6530150750 | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)-50V/75A DC Output, Constant Current and Constant Voltage, IP55, as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | ست | 4 | 700000000 | 2800000000 | 4 | 100% | 1651 | 2800000000
4 | 6530125250 | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)-25V/25A DC Output, Constant Current and Constant Voltage, IP55, as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | ست | 1 | 480000000 | 480000000 | 1 | 100% | 1725 | 480000000
5 | 6530115150 | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)-15V/15A DC Output, Constant Current and Constant Voltage, IP55, as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | ست | 1 | 370000000 | 370000000 | 1 | 100% | 1725 | 370000000
6 | 6530305051 | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)- Three separate DC Outputs Channels: 5V/5A, 5V/5A and 5V/5A, Constant Current and Constant Voltage, IP55, as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | ست | 1 | 480000000 | 480000000 | 1 | 100% | 1725 | 480000000
7 | 6530225251 | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)- Two separate DC Output Channels: 25V/25A, 5V/5A, Constant Current and Constant Voltage, IP55as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | ست | 1 | 480000000 | 480000000 | 1 | 100% | 1725 | 480000000
8 | 6530225253 | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)- Two separate DC Output Channels: 25V/25A, 25V/25A, Constant Current and Constant Voltage, IP55 as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | ست | 1 | 600000000 | 600000000 | 1 | 100% | 1725 | 600000000
9 | 6530225252 | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)- Two separate DC Output Channels: 10V/10A, 25V/25A, Constant Current and Constant Voltage, IP55 as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | ست | 1 | 580000000 | 580000000 | 1 | 100% | 1725 | 580000000
10 | 6530310102 | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)- Three separate DC Output Channels: Two 5V/5A Channels, One 10V/10A channel, Constant Current and Constant Voltage, IP55 as per Data Sheet Document | ست | 1 | 520000000 | 520000000 | 1 | 100% | 1725 | 520000000
11 | 6530210101 | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)- Two separate DC Output Channels: 10V/10A, 10V/10A, Constant Current and Constant Voltage, IP55 as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | ست | 1 | 600000000 | 600000000 | 1 | 100% | 1725 | 600000000
12 | 6530280012 | Earthing System for Transformer Rectifiers as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” CPD 22&23 | ست | 28 | 42000000 | 1176000000 | 28 | 100% | 1647 | 1176000000
13 | 6530011002 | AC Box sitable for Transformer Rectifiers as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | ست | 28 | 46000000 | 1288000000 | 28 | 100% | 1651 | 1288000000
14 | 6530012302 | Safe Type Anode Contact Box with Stand, 6 terminals, Coated Carbon Steel, IP55, Type CPD-28, CPJT-7 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 2 | 27000000 | 54000000 | 0 | 0% |  | 0
15 | 6530012402 | Safe Type Anode Contact Box with Stand, 8 terminals, Coated Carbon Steel, IP55, Type CPD-28, CPJT-9 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 22 | 31000000 | 682000000 | 22 | 100% | 1661 | 682000000
16 | 6530012452 | Safe Type Anode Contact Box with Stand, 9 terminals, Coated Carbon Steel, IP 55, Type CPD-28, CPJT-10 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 7 | 35000000 | 245000000 | 7 | 100% | 1661 | 245000000
17 | 6530013202 | Safe Type Cathode Contact Box With Stand, 4 terminals, Coated Carbon Steel, IP55, Type CPD-28/CPOT-5 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 2 | 26000000 | 52000000 | 2 | 100% | 1661 | 52000000
18 | 6530013302 | Safe Type Cathode Contact Box With Stand, 6 terminals, Coated Carbon Steel, IP55, Type CPD-28/CPOT-7 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 10 | 28000000 | 280000000 | 10 | 100% | 1661 | 280000000
19 | 6530014202 | Safe Type Negative Bond Box With Stand, 4 Terminals, Coated Carbon Steel, IP55, Type CPD-28/CPNT-7 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 4 | 26000000 | 104000000 | 4 | 100% | 1661 | 104000000
20 | 6530024202 | Safe Type Negative Bond Box With Stand, 4 Terminals, Coated Carbon Steel, IP55, Type CPD-54/CPNT-24 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 9 | 26000000 | 234000000 | 9 | 100% | 1661 | 234000000
21 | 6530014252 | Safe Type Negative Bond Box with Stand, 5 terminals, Coated Carbon Steel, IP 55, Type CPD-28/CPNT-8 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 4 | 27000000 | 108000000 | 4 | 100% | 1661 | 108000000
22 | 6530024302 | Safe Type Negative Bond Box With Stand, 6 Terminals, Coated Carbon Steel, IP 55, Type CPD-54/CPNT-26 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 3 | 28000000 | 84000000 | 3 | 100% | 1661 | 84000000
23 | 6530015202 | Safe Type Positive Bond Box With Stand, 4 Terminals, Coated Carbon Steel, IP 55, Type CPD-28/CPPT-7 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 8 | 26000000 | 208000000 | 8 | 100% | 1661 | 208000000
24 | 6530025202 | Safe Type Positive Bond Box with Stand, 4 Terminals, Coated Carbon Steel, IP 55, Type CPD-54/CPPT-21 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 4 | 26000000 | 104000000 | 4 | 100% | 1661 | 104000000
25 | 6530035202 | Safe Type Positive Bond Box With Stand, 4 Terminals, Coated Carbon Steel, IP 55, Type CPD-62/CPPT-11 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052” | ست | 6 | 26000000 | 156000000 | 6 | 100% | 1661 | 156000000
26 | 6530015252 | Safe Type Positive Bond Box with Stand, 5 terminals, Coated Carbon Steel, IP 55, Type CPD-28/CPPT-8 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 4 | 27000000 | 108000000 | 4 | 100% | 1661 | 108000000
27 | 6530025302 | Safe Type Positive Bond Box with Stand, 6 Terminals, Coated Carbon Steel, IP 55, Type CPD-54/CPPT-22 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 7 | 28000000 | 196000000 | 5 | 71.43% | 1661 | 140000000
28 | 6530025402 | Safe Type Positive Bond Box With Stand, 8 Terminals, Coated Carbon Steel, IP 55, Type CPD-54/CPPT-23 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 1 | 31000000 | 31000000 | 1 | 100% | 1661 | 31000000
29 | 6530025702 | Safe Type Positive Bond Box with Stand, 12 Terminals, Coated Carbon Steel, IP 55, Type CPD-54/CPPT-25 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052” | ست | 2 | 40000000 | 80000000 | 2 | 100% | 1661 | 80000000
30 | 6530025702 | Safe Type Test Bond Box With Stand, 2 terminals, Coated Carbon Steel, IP55, Type CPD-63/CPTT-31 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 6 | 25000000 | 150000000 | 6 | 100% | 1661 | 150000000
31 | 6530016402 | Safe Type Test Bond Box With Stand, 8 terminals, Coated Carbon Steel, IP55, Type CPD-28/CPTT-6 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 11 | 30000000 | 330000000 | 11 | 100% | 1661 | 330000000
32 | 6530026402 | Safe Type Test Bond Box With Stand, 8 terminals, Coated Carbon Steel, IP55, Type CPD-55/CPTT-22 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 8 | 30000000 | 240000000 | 8 | 100% | 1661 | 240000000
33 | 6530016502 | Safe Type Test Bond Box with Stand, 10 terminals, Coated Carbon Steel, IP55, Type CPD-28/CPTT-7 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 11 | 35000000 | 385000000 | 11 | 100% | 1661 | 385000000
34 | 6530026502 | Safe Type Test Bond Box With Stand, 10 terminals, Coated Carbon Steel, IP55, Type CPD-55/CPTT-23 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 2 | 35000000 | 70000000 | 2 | 100% | 1661 | 70000000
35 | 6530016602 | Safe Type Test Bond Box with Stand, 12 terminals, Coated Carbon Steel, IP55, Type CPD-28/CPTT-8 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 3 | 44000000 | 132000000 | 3 | 100% | 1661 | 132000000
36 | 6530026602 | Safe Type Test Bond Box With Stand, 12 terminals, Coated Carbon Steel, IP55, Type CPD-55/CPTT-24 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 3 | 44000000 | 132000000 | 3 | 100% | 1661 | 132000000
37 | 6530016702 | Safe Type Test Bond Box with Stand, 14 terminals, Coated Carbon Steel, IP55, Type CPD-28/CPTT-9 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | ست | 1 | 48000000 | 48000000 | 1 | 100% | 1661 | 48000000
38 |  | Commisinnig Spare Part | ست | 28 | 23000000 | 644000000 | 28 | 100% | 1647 | 644000000
| جمع کل اقلام قرارداد |  |  |  |  | 25991000000 | جمع صورتحسابهای دریافتی |  |  | 25881000000
خلاصه محاسبات پرداخت صورت حساب: | [5 empty] | (ریال) | توضیحات:
جمع صورتحسابهای دریافتی | [5 empty] | 25881000000 | با توجه به پیشنهاد واحد بازرگانی مبنی بر عدم اعمال جریمه تاخیر و تایید مدیریت محترم، جریمه تاخیر در محاسبات لحاظ نشده است.
کسر می شود: صورتحسابهای تسویه شده طی مراحل قبل | [5 empty] | 21771000000
جمع صورتحساب جاری (1725) | [5 empty] | 4110000000
کسور:
استهلاک پیش پرداخت (باقیمانده) | [5 empty] | 2531000000
جمع کسور | [5 empty] | 2531000000
خالص قابل پرداخت | [5 empty] | 1579000000

## Supply MTO
No. | Project Code | PO No. | Amendment No. | Category | Mark No. | Sub-Item No. | Description | Action | Quantity | Unit | Price 1 |  | Currency 1 | Price 2 | Currency 2
1 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530150500 |  | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN) -50V/50A DC Output, Constant Current and Constant Voltage, IP55, with GPS Interrupter as per document No. "SACR-DE-GEN-EL-DSH-5052" | New | 12 | Set | 650000000 | 7800000000 | OPI-PGP-EL004-005 & OPI-PGP-EL004-001
2 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530150150 |  | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)-50V/150A DC Output, Constant Current and Constant Voltage, IP55, as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | New | 4 | Set | 990000000 | 3960000000 | OPI-PGP-EL004-002
3 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530150750 |  | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)-50V/75A DC Output, Constant Current and Constant Voltage, IP55, as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | New | 4 | Set | 700000000 | 2800000000 | OPI-PGP-EL004-002
4 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530125250 |  | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)-25V/25A DC Output, Constant Current and Constant Voltage, IP55, as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | New | 1 | Set | 480000000 | 480000000 | OPI-PGP-EL004-006
5 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530115150 |  | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)-15V/15A DC Output, Constant Current and Constant Voltage, IP55, as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | New | 1 | Set | 370000000 | 370000000
6 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530305051 |  | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)- Three separate DC Outputs Channels: 5V/5A, 5V/5A and 5V/5A, Constant Current and Constant Voltage, IP55, as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | New | 1 | Set | 480000000 | 480000000
7 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530225251 |  | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)- Two separate DC Output Channels: 25V/25A, 5V/5A, Constant Current and Constant Voltage, IP55as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | New | 1 | Set | 480000000 | 480000000
8 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530225253 |  | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)- Two separate DC Output Channels: 25V/25A, 25V/25A, Constant Current and Constant Voltage, IP55 as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | New | 1 | Set | 600000000 | 600000000
9 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530225252 |  | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)- Two separate DC Output Channels: 10V/10A, 25V/25A, Constant Current and Constant Voltage, IP55 as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | New | 1 | Set | 580000000 | 580000000
10 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530310102 |  | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)- Three separate DC Output Channels: Two 5V/5A Channels, One 10V/10A channel, Constant Current and Constant Voltage, IP55 as per Data Sheet Document | New | 1 | Set | 520000000 | 520000000
11 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530210101 |  | Transformer Rectifier 400 V, 3 Ph, 50 Hz, Oil Cooled (ONAN)- Two separate DC Output Channels: 10V/10A, 10V/10A, Constant Current and Constant Voltage, IP55 as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | New | 1 | Set | 600000000 | 600000000
12 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530280012 |  | Earthing System for Transformer Rectifiers as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” CPD 22&23 | New | 28 | Set | 42000000 | 1176000000
13 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530011002 |  | AC Box sitable for Transformer Rectifiers as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" as per Data Sheet Document "SACR-DE-GEN-EL-DSH-5052" | New | 28 | Set | 46000000 | 1288000000
14 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530012302 |  | Safe Type Anode Contact Box with Stand, 6 terminals, Coated Carbon Steel, IP55, Type CPD-28, CPJT-7 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 2 | Set | 27000000 | 54000000
15 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530012402 |  | Safe Type Anode Contact Box with Stand, 8 terminals, Coated Carbon Steel, IP55, Type CPD-28, CPJT-9 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 22 | Set | 31000000 | 682000000
16 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530012452 |  | Safe Type Anode Contact Box with Stand, 9 terminals, Coated Carbon Steel, IP 55, Type CPD-28, CPJT-10 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 7 | Set | 35000000 | 245000000
17 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530013202 |  | Safe Type Cathode Contact Box With Stand, 4 terminals, Coated Carbon Steel, IP55, Type CPD-28/CPOT-5 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 2 | Set | 26000000 | 52000000
18 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530013302 |  | Safe Type Cathode Contact Box With Stand, 6 terminals, Coated Carbon Steel, IP55, Type CPD-28/CPOT-7 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 10 | Set | 28000000 | 280000000
19 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530014202 |  | Safe Type Negative Bond Box With Stand, 4 Terminals, Coated Carbon Steel, IP55, Type CPD-28/CPNT-7 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 4 | Set | 26000000 | 104000000
20 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530024202 |  | Safe Type Negative Bond Box With Stand, 4 Terminals, Coated Carbon Steel, IP55, Type CPD-54/CPNT-24 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 9 | Set | 26000000 | 234000000
21 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530014252 |  | Safe Type Negative Bond Box with Stand, 5 terminals, Coated Carbon Steel, IP 55, Type CPD-28/CPNT-8 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 4 | Set | 27000000 | 108000000
22 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530024302 |  | Safe Type Negative Bond Box With Stand, 6 Terminals, Coated Carbon Steel, IP 55, Type CPD-54/CPNT-26 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 3 | Set | 28000000 | 84000000
23 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530015202 |  | Safe Type Positive Bond Box With Stand, 4 Terminals, Coated Carbon Steel, IP 55, Type CPD-28/CPPT-7 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 8 | Set | 26000000 | 208000000
24 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530025202 |  | Safe Type Positive Bond Box with Stand, 4 Terminals, Coated Carbon Steel, IP 55, Type CPD-54/CPPT-21 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 4 | Set | 26000000 | 104000000
25 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530035202 |  | Safe Type Positive Bond Box With Stand, 4 Terminals, Coated Carbon Steel, IP 55, Type CPD-62/CPPT-11 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052” | New | 6 | Set | 26000000 | 156000000
26 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530015252 |  | Safe Type Positive Bond Box with Stand, 5 terminals, Coated Carbon Steel, IP 55, Type CPD-28/CPPT-8 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 4 | Set | 27000000 | 108000000
27 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530025302 |  | Safe Type Positive Bond Box with Stand, 6 Terminals, Coated Carbon Steel, IP 55, Type CPD-54/CPPT-22 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 5 | Set | 28000000 | 140000000
28 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530025302 |  | Safe Type Positive Bond Box With Stand, 6 Terminals, Coated Carbon Steel, IP 55, Type CPD-62/CPPT-13 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052” | New | 2 | Set | 28000000 | 56000000
29 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530025402 |  | Safe Type Positive Bond Box With Stand, 8 Terminals, Coated Carbon Steel, IP 55, Type CPD-54/CPPT-23 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 1 | Set | 31000000 | 31000000
30 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530025702 |  | Safe Type Positive Bond Box with Stand, 12 Terminals, Coated Carbon Steel, IP 55, Type CPD-54/CPPT-25 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052” | New | 2 | Set | 40000000 | 80000000
31 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530025702 |  | Safe Type Test Bond Box With Stand, 2 terminals, Coated Carbon Steel, IP55, Type CPD-63/CPTT-31 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 6 | Set | 25000000 | 150000000
32 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530016402 |  | Safe Type Test Bond Box With Stand, 8 terminals, Coated Carbon Steel, IP55, Type CPD-28/CPTT-6 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 11 | Set | 30000000 | 330000000
33 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530026402 |  | Safe Type Test Bond Box With Stand, 8 terminals, Coated Carbon Steel, IP55, Type CPD-55/CPTT-22 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 8 | Set | 30000000 | 240000000
34 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530016502 |  | Safe Type Test Bond Box with Stand, 10 terminals, Coated Carbon Steel, IP55, Type CPD-28/CPTT-7 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 11 | Set | 35000000 | 385000000
35 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530026502 |  | Safe Type Test Bond Box With Stand, 10 terminals, Coated Carbon Steel, IP55, Type CPD-55/CPTT-23 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 2 | Set | 35000000 | 70000000
36 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530016602 |  | Safe Type Test Bond Box with Stand, 12 terminals, Coated Carbon Steel, IP55, Type CPD-28/CPTT-8 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 3 | Set | 44000000 | 132000000
37 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530026602 |  | Safe Type Test Bond Box With Stand, 12 terminals, Coated Carbon Steel, IP55, Type CPD-55/CPTT-24 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0153” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 3 | Set | 44000000 | 132000000
38 | SACR | ADSH-P-CO-EL-004 |  | Main Item | 6530016702 |  | Safe Type Test Bond Box with Stand, 14 terminals, Coated Carbon Steel, IP55, Type CPD-28/CPTT-9 as per Inatallation Detail Drawing No. “SACR-DE-GEN-EL-DWG-0151” and Document No. "SACR-DE-GEN-EL-DSH-5052" | New | 1 | Set | 48000000 | 48000000
[7 empty] | Commisinnig Spare Part | New | 28 | Set | 23000000 | 644000000
38 | SACR | ADSH-P-CO-EL-004 |  | Main Item | CPS-MISC |  | Miscellaneous Items for Cathodic Protection System | New | 1 | Piece