## Packing List Items
# | Packing List No. | Date | Purchase Order | Vendor | Destination | Shipment No. | Material Description | Package No. | Category | Main Material | Mark No. | Description | Quantity | Unit | Weight/Unit | Remark
8 | SACR-PL-JNL-104-001 | 2023-01-29 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 01 |  | 1 | Main Item | 6962164301 | 6962164301 | "400 Watt Metal Halide Flood light with Lamp, 230 V, 50 Hz , Industrial weatherproof , Housing made of Diecast Aluminum , Reflector made of Andonized Aluminium , Magnetic ballast with PF corrective capacitor , Lighting Fixture 26000 lumen, 3 pole terminal block suitable for 3x4mm2 cable (Through wiring ) , Equipped with One cable entry with M20 Gland Brass made nickel plated for Non armored cable ,One M20-brass made nickel plated Stopping Plug ,Fixture IP 65 , Dimension :535x400x165 mm, Pole mounted (LD-51)" | 280 | Set |  | Without Lamp
10 | SACR-PL-JNL-104-001 | 2023-01-29 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 01 |  | 1 | Sub Item | 6962164301 | 1 | 400 Watt Metal Halide Lamp for Flood Light Pole Monted | 280 | Piece
9 | SACR-PL-JNL-104-001 | 2023-01-29 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 01 |  | 1 | Main Item | 6962165301 | 6962165301 | "400 Watt Metal Halide Flood light with Lamp, 230 V, 50 Hz , Industrial weatherproof , Housing made of Diecast Aluminum , Reflector made of Andonized Aluminium , Magnetic ballast with PF corrective capacitor , Lighting Fixture 26000 lumen, 3 pole terminal block suitable for 3x4mm2 cable (Through wiring ) , Equipped with One cable entry with M20 Gland Brass made nickel plated for Non armored cable ,One M20-brass made nickel plated Stopping Plug ,Fixture IP 65 , Dimension :535x400x165 mm, Structure mounted (LD-45)" | 40 | Set |  | WithOut Lamp
11 | SACR-PL-JNL-104-001 | 2023-01-29 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 01 |  | 1 | Sub Item | 6962165301 | 2 | 400 Watt Metal Halide Lamp for Flood Light Structure Monted | 40 | Piece
20 | SACR-PL-JNL-104-002 | 2023-02-22 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 2 |  | 7 | Sub Item | 6962164301 | 9 | M20 Cable Gland | 320 | Piece
21 | SACR-PL-JNL-104-002 | 2023-02-22 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 2 |  | 7 | Sub Item | 6962165301 | 10 | M20 Stopping Plug | 320 | Piece
24 | SACR-PL-JNL-104-003 | 2023-03-07 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 3 |  | 2 | Sub Item | 6962124301 | 112105000870 | brass made nickle plate cable gland M20for armored cable | 614 | Piece
25 | SACR-PL-JNL-104-003 | 2023-03-07 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 3 |  | 2 | Sub Item | 6962124301 | 0216410000001 | H.D.G Clamp suitable for pipe 2 | 422 | Piece
18 | SACR-PL-JNL-104-002 | 2023-02-22 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 2 |  | 7 | Main Item | 6962346301 | 6962346301 | 24W LED Weather Proof lighting fixture , 230 V. 50 Hz , Industrial weatherproof , Enclosure made of Extruded Aluminum , End cap made of diecast aluminum , Diffuser made of Acrylics sheet , Electronic driver , 24 watt Module , 100 lumen/ watt -2400Lm , CRI>80 , 4000k , 3 pole terminal block suitable for 3x4mm2 cable (Through wiring ) , Equipped with Two cable entry with M20 gland Brass made nickel plated for armored cable , IP 65 , Dimension :621x91x78 , Surface mounted (LD-01) | 230 | Set | 400 | Without Gland
19 | SACR-PL-JNL-104-002 | 2023-02-22 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 2 |  | 7 | Sub Item | 6962346301 | 8 | Cable Gland M20 | 460 | Piece
15 | SACR-PL-JNL-104-002 | 2023-02-22 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 2 |  | 6 | Main Item | 6962413301 | 6962413301 | HIGH BAY LIGHTING FIXTURE, WITH LED PANEL, Weather Proof Type, IP55, 200W, 230V AC, 50Hz, Enclosure material: Painted Metallic body, Connection box to be provided for Cable entry, 2xM20 cable entries equipped with 1 cable glands and 1 stopping plug, double sealed for steel wire armored cable, Min. Luman: 26,000 lm, Suspended Mounted "LD-42" | 35 | Set | 200 | Without Gland
16 | SACR-PL-JNL-104-002 | 2023-02-22 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 2 |  | 6 | Sub Item | 6962413301 | 6 | Stopping Plug M20 | 35 | Piece
17 | SACR-PL-JNL-104-002 | 2023-02-22 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 2 |  | 6 | Sub Item | 6962413301 | 7 | Cable Gland M20 | 35 | Piece
1 | SACR-PL-JNL-104-002 | 2023-02-22 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 2 |  | 1 | Main Item | 6962514301 | 6962514301 | STREET LIGHTING FIXTURE, WITH METAL HALIDE LAMP (HIT), Weather Proof, IP55, 250 W, 230 V, 50 Hz, Made of one Piece Die-Cast Aluminum with Brightened & Anodized Aluminum Reflector, Porcelain Lamp holder E40, Shock & Thermal Resistant Glass Bowl Diffuser, Capable for installing on 50~100 mm Diameter Pipe with Mounting facilities, Min. Luman: 26,000 lm, Pole mounted "LD-49" | 35 | Set | 300 | Without Gland
2 | SACR-PL-JNL-104-002 | 2023-02-22 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 2 |  | 1 | Sub Item | 6962514301 | 1 | 250W metal Halide Lamp | 35 | Piece
3 | SACR-PL-JNL-104-002 | 2023-02-22 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 2 |  | 2 | Main Item | 6962514301 | 6962514301 | STREET LIGHTING FIXTURE, WITH METAL HALIDE LAMP (HIT), Weather Proof, IP55, 250 W, 230 V, 50 Hz, Made of one Piece Die-Cast Aluminum with Brightened & Anodized Aluminum Reflector, Porcelain Lamp holder E40, Shock & Thermal Resistant Glass Bowl Diffuser, Capable for installing on 50~100 mm Diameter Pipe with Mounting facilities, Min. Luman: 26,000 lm, Pole mounted "LD-49" | 35 | Set | 300 | Without Gland
4 | SACR-PL-JNL-104-002 | 2023-02-22 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 2 |  | 2 | Sub Item | 6962514301 | 2 | 250W metal Halide Lamp | 35 | Piece
5 | SACR-PL-JNL-104-002 | 2023-02-22 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 2 |  | 3 | Main Item | 6962514301 | 6962514301 | STREET LIGHTING FIXTURE, WITH METAL HALIDE LAMP (HIT), Weather Proof, IP55, 250 W, 230 V, 50 Hz, Made of one Piece Die-Cast Aluminum with Brightened & Anodized Aluminum Reflector, Porcelain Lamp holder E40, Shock & Thermal Resistant Glass Bowl Diffuser, Capable for installing on 50~100 mm Diameter Pipe with Mounting facilities, Min. Luman: 26,000 lm, Pole mounted "LD-49" | 35 | Set | 300 | Without Gland
6 | SACR-PL-JNL-104-002 | 2023-02-22 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 2 |  | 3 | Sub Item | 6962514301 | 3 | 250W metal Halide Lamp | 35 | Piece
7 | SACR-PL-JNL-104-002 | 2023-02-22 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 2 |  | 4 | Main Item | 6962514301 | 6962514301 | STREET LIGHTING FIXTURE, WITH METAL HALIDE LAMP (HIT), Weather Proof, IP55, 250 W, 230 V, 50 Hz, Made of one Piece Die-Cast Aluminum with Brightened & Anodized Aluminum Reflector, Porcelain Lamp holder E40, Shock & Thermal Resistant Glass Bowl Diffuser, Capable for installing on 50~100 mm Diameter Pipe with Mounting facilities, Min. Luman: 26,000 lm, Pole mounted "LD-49" | 35 | Set | 300 | Without Gland
12 | SACR-PL-JNL-104-002 | 2023-02-22 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 2 |  | 4 | Sub Item | 6962514301 | 4 | 250W metal Halide Lamp | 35 | Piece
13 | SACR-PL-JNL-104-002 | 2023-02-22 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 2 |  | 5 | Main Item | 6962514301 | 6962514301 | STREET LIGHTING FIXTURE, WITH METAL HALIDE LAMP (HIT), Weather Proof, IP55, 250 W, 230 V, 50 Hz, Made of one Piece Die-Cast Aluminum with Brightened & Anodized Aluminum Reflector, Porcelain Lamp holder E40, Shock & Thermal Resistant Glass Bowl Diffuser, Capable for installing on 50~100 mm Diameter Pipe with Mounting facilities, Min. Luman: 26,000 lm, Pole mounted "LD-49" | 35 | Set | 300 | Without Gland
14 | SACR-PL-JNL-104-002 | 2023-02-22 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 2 |  | 5 | Sub Item | 6962514301 | 5 | 250W metal Halide Lamp | 35 | Piece
22 | SACR-PL-JNL-104-003 | 2023-03-07 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 3 |  | 1 | Main Item | 6962356301 | 6962356301 | LED Lighting Fixture, Weather Proof, IP55, With 40 W LED Panel, 230V AC, 50Hz, Surface Mounted (LD-11B) | 211 | Piece | 450
23 | SACR-PL-JNL-104-003 | 2023-03-07 | ADSH-P-PO-GE-104 | JAHAN NOOR CO. LTD | DDP SITE | 3 |  | 2 | Main Item | 6962356301 | 6962356301 | LED Lighting Fixture, Weather Proof, IP55, With 40 W LED Panel, 230V AC, 50Hz, Surface Mounted (LD-11B) | 96 | Piece | 450