## Sheet1
Document Title: Sub Supplier List
Document Code: LI-CO-48/00
Item | Device | Manufacture | Origin
1 | Heated Sample Probe | BUEHLER / PSQ | GERMANY/IRAN
2 | Heated Sample Transfer Line | RAYCHEM | USA
3 | Solenoid Valve | BURKERT/FLO CONTROL | WEST EUROPE
4 | Filter | S-LOK/SUPER LOK /HEADLINE | SOUTH KOREA / UK
5 | Electrical Sample Cooler (Four Heat Exchanger) + Four Prestaltic Pumps | BUHLER | GERMANY
6 | Diaphragm Pump for Sample Cooler | BUHLER/ KNF | WEST EUROPE
7 | Block Valve | S-LOK / SUPERLOK | SOUTH KOREA
8 | Moisture Filter + Moisture Sensor with Alarm | BUEHLER/ANKERSMID | WEST EUROPE
11 | NOx Convertor | ANKERSMID/BUHLER | WEST EUROPE
12 | Variable Area Flowmeter with Needle Valve +FLA | KROHNE / ASA | GERMANY / ITALY
13 | Pressure Gauge | ASHCROFT/WIKA/NUOVAFIMA | USA/GERMANY/ITALY
14 | Gas Analyser | ABB | WEST EUROPE
15 | Cylinder Pressure Regulator with Inlet and Outlet Gauges | Drastar | South Korea
16 | Calibration Cylinder | ARKANGAS/ZAGROS AIR LIQUID | IRAN
17 | Analyser Cabinet | PSQ | IRAN
18 | Air Conditioner | IRAN COOLER/KENEX | IRAN
19 | Purge Control Unit | P&F | GERMANY
20 | Air Filter Pressure Regulator | GO/DRASTER/PRESSURE TECK | USA/SOUTH KOREA/UK
21 | Yellow Flashing | Cortem | ITALY
22 | Red Flashing | Cortem | ITALY
23 | Horn | Cortem | ITALY
24 | Reset and Acknowledge button | Cortem / SEMC | Italy / Iran
25 | Smoke Detector | Apolo | UK
26 | LEL Gas Detector | Honeywell | South Korea
27 | PLC | Siemens | WEST EUROPE
28 | Data Logger | Almas Logger | Iran
29 | Junction Box Exe IIC | SEMC | IRAN
30 | Power Distribution Panel Sheet steel | Any manufacture
31 | MCCB, MCB | Schrack, Doepke, Schneider, Eaton | -
32 | Power Supply | Omron, Schneider | -
33 | Relay | Finder, Phoenix | -
34 | Terminal | RAAD | -
35 | Camera | Dahua, Hikvision | -
36 | PC | Any manufacture | -
37 | Lighting | Mazinoor, SEMC | Iran
38 | Fitting | D-Lok/S-Lok/HSME | South Korea
Issued By: N. Seif |  | Checked By: H. Rouhani
Date: 06/01/2025 |  | Date: 06/01/2025